CW Pressure Amplitude Wave Field for a 5 MHz Cylindrical Transducer

Finite Element Analysis (FEA) using flexPDE

[image: image1.jpg]Acoustic Radiation froma Cylindrical X der at 5 MHz 16,3152 1/18/00
FlexPDE 2.150

PressureAmplitude

Y

CYLINDTICALF 2XDCRPSTRESS02: Grig#1 p2 Nodes=25443 Cells=12542 RMS En= 28e-4
Integral= 16.0578




Pressure unit is Pascals

